## Slide 1
Microgrid Design and Model
Jaimerson Valleser, M.Eng

## Slide 2: Discussion Points
Key Attributes
Salient Features Microgrid
Components of Microgrid Power System
Potential of Wind and Solar
Design Philosophy and Mathematical Model and Control System
Architecture and Infrastructure of BESS
Energy Management Algorithm

## Slide 3: Key Attributes of Microgrid
The Microgrid Power System (MGPS) is an independent small-scale network of renewable energy sources such as Solar, Wind, and Biogas with a Battery Energy Storage System (BESS)
It is capable of providing electricity within a definable boundaries or autonomous areas of a certain community.
Excess capacity are stored efficiently and this prevent load curtailment during power shortages
Can be operated in an Island mode or connected to the main Grid
It is a distributed energy resources that allows local generation for domestic loads
It is a highly efficient and very flexible integrated system of generation resource

## Slide 4: Salient Features of Microgrid
Transmission System is highly reduced, thus it cuts down demand charges, transmission charges, etc.
Promotes substantial savings in fuel cost
It Lowers CO2 emission to the environment.

## Slide 5: Salient Features of Microgrid
The system frequency is highly balanced
Good power quality is achieved
Improvement of energy system reliability

## Slide 6: Component of Microgrid System
Customers, Electricity Users
Controls, Protection, Regulators
Generator Resources and Distribution System

## Slide 7: Component of Microgrid System
MGCMCS

## Slide 8: Understanding the Potential of Wind and Solar
Solar Irradiance
Wind Speed

## Slide 9: Mathematical Model
Power Balance
PBIO + PSOLAR + PWIND + PBESS-Dis + Pslack1= PLoad + PLoss + PBESS-Cha + Pslack2
Power delivered by BESS when
PBIO + PSOLAR + PWIND < PLoad + PLoss
Power absorbed by BESS when
PBIO + PSOLAR + PWIND > PLoad + PLoss

## Slide 10: Design Philosophy of Control System
MGMCS
PBESS
RTU4
MQ4
PSolar
RTU3
MQ3
PWind
RTU2
MQ2
PBio
RTU1
MQ1
RTU7
MQ7
RTU6
MQ6
RTU5
MQ5

## Slide 11: Design Architecture and Infrastructure of BESS
Battery Management System
Battery Energy Storage System
System Supervisory Control
Power Control and Switching Facilities

## Slide 12: Energy Management Algorithm
Check Availability of Solar, Wind, Bio and BESS
Evaluate
P supply = P load + P loss
Load balance<0
Check Battery SOC
SOC>80%
Charge the Battery
Generate
Check BIO availability
Bio Available?
Run Bio
Supply-Demand balance?
Check Battery SOC
SOC>20%
Generate
Get power from the main Grid
Supply and Demand is balance
Y
N
Y
N
Y
N
Y
N

## Slide 13: Development of Microgrid
Screening Study
Set Goals
Acquire Approval and Permits
Organized and educate
Acquire Financing
Identify Project Site
EPC
Study the Concept

## Slide 14: Microgrid Power System

## Slide 15: Thank you